PT Role and Importance

Proficiency testing is a measure to improve comparability in testing and calibration.

M. Amer

PT Aims

- Assist in maintaining the calibration of instruments;

- Establish the effectiveness and comparability of new test methods;

- Achieve commercial improvement, through providing additional confidence to clients;

- Achieving confidence in testing performance of laboratories;

- Demonstration of competence;

- Assist in determining reasons for interlaboratory differences;

- Determine the precision of test method;

- Determination of the assigned values of certified reference materials.

Role of PT

On of the possible application of PT schemes is the accreditation of testing or calibrating further more ISO/IEC  17025 " General requirements for the competence of testing and calibration " recommends that accredited laboratories and applicant in proficiency testing or other interlaboratory comparisons as required by the accreditation body or regulating authority. Accreditation bodies should have a policy related to proficiency testing which should include the following aspects:

- An accreditation body may, where judged appropriate, require testing laboratories to participate in proficiency testing.

- If the results of the participation in the required proficiency testing are unsatisfactory the granting or maintenance of accreditation shall be reconsidered.

- However, an accreditation not be granted or maintained only on the basis of the results of proficiency testing.

- These proficiency testing schemes may be organized by the accreditation body itself or by any other body judged competent.

- Proficiency testing should be consistent with the provisions contained in ISO/IEC Guide 43, "proficiency Testing by interlaboratory comparison" and ILAC G13.

- Proficiency testing and the accreditation process are closely connected therefore the accreditation bodies have to have policies on how they want to use proficiency testing in the accreditation process.

The accreditation body and the technical assessor have to evaluate competence the personnel, the status of the equipment, and the quality management system according to ISO/ IEC 17025. All these parts be on a sufficient level to guarantee the quality of the accredited laboratories. An accreditation is always based on written standards on the house working procedures. For calibration laboratories the successful participation in PT schemes is in some countries a precondition for accreditation. In many testing fields, the accreditation seeking laboratory has to demonstrate its competence by participating in a proficiency testing schemes. In these PT schemes the various aspects of the laboratory competence are checked under realistic circumstanced. The accreditation body the technical assessor have to guarantee an independent evaluation of the laboratory competence therefore, it is necessary that the accreditation body has an established documented program for PT schemes this program must include regulation for carrying out periodic surveillance and re-assessment at sufficiently close intervals to ensure that its accredited laboratories continue to comply with the accreditation requirements. Surveillance and re-assessment procedures have to be consistent with those concerning the assessment of laboratories as described in ISO/LEC 17025 Bodies assessing the technical competence of testing laboratories normally require expect satisfactory participation in proficiency testing as evidence of a laboratory to produce test results, except where proficiency testing is inappropriate. However, it is emphasized that a major distinction exists between the evaluation of the competence of a laboratory by the assessment of its total operation against pre- determined requirements, and the examination of the results of a laboratory participation in proficiency testing which may only be considered as given information about the technical competence of the testing laboratory at a point of time under the specific conditions of the tests involved in a proficiency testing scheme.

PT schemes are especially necessary, when the assessor is not able to give a positive judgment on the performance of a testing laboratory based only on the on-site assessment. In his judgment internal and external quality management activities be implemented.

He has to take into account the following essential points, which be the laboratory prior to accreditation.

- Are internal external comparison tests performed by the laboratory?

- Are calibration performed on a regular base?

- Dose the laboratory use certified materials or own standard regularly?

- Dose the laboratory use duplicate repeated measurements?

- Dose the laboratory use blind test items?

Additionally, PT schemes are necessary when:

- The competence of the staff might not be sufficient for the specific test?

- Technical assessor decides that the experiences of the laboratory do not meet the requirements of new test methods, new matrices, and new materials?

- The documentation of in-house procedures seemed to be not sufficient?

- Results of PT schemes in other related fields of testing have not been fully satisfactory.

- The documentation of corrective actions after achieving unsatisfactory performance is insufficient?

- Systematic errors are detected in the laboratory?

If these essential aspects are not completely fulfilled, the assessor should demand a PT scheme, if necessary he should prepare a bilateral PT. in any case he has to take the outcome of PT schemes organized under the supervision of the accreditation body into account when he is judging about the competence of a testing/ calibration laboratory.

PT unit, NIS, Egypt